Fire Prevention Safety Checklist

##### FIRE PREVENTION

Fire Prevention is a necessary fact of life in conduction any Agricultural Show.  At all Agricultural Shows the Committee’s Safety Officer shall be in charge of inspection.  A warden or wardens shall be appointed for fire, crowd and emergency control at all events.  Site access for Emergency Services should be unimpeded.

In the period during the set up process the Committee’s Safety Officers for the event should liaise with the local emergency services (Police, Fire and Ambulance).  A representative of the local Fire Brigade may choose to accompany personnel carrying out the inspection below.

| ITEMS INSPECTED | OK | NOT OK | N/A |
| --- | --- | --- | --- |
| Please tick where appropriate |  |  |  |
| Electrical |  |  |  |
| Earth leakage System installed and tested OK |  |  |  |
| Fuses/circuit breakers suited to cable load capacity in leads and boards |  |  |  |
| Public access to power boxes restricted |  |  |  |
| Public access to generators restricted |  |  |  |
| Leads, cables and plugs |  |  |  |
| Motor overload cutouts |  |  |  |
| Light globes clear of flammable materials |  |  |  |
| Housekeeping |  |  |  |
| Rubbish bins emptied regularly |  |  |  |
| Aisles and accessways clear of obstructions and litter |  |  |  |
| Free access by staff to electrical switches and controls |  |  |  |
| Exit and entry ways clear |  |  |  |
| Merchandise, stock and other goods stored neatly |  |  |  |
| Fuel and Oil supplies stored away from public |  |  |  |
| Smokers |  |  |  |
| NO SMOKING signs on proper locations |  |  |  |
| SMOKING PROHIBITED signs on proper locations |  |  |  |
| Ashtrays and receptacles of sufficient size in smoking areas (20l drums filled with sand are acceptable |  |  |  |
| Extinguisher Checklist |  |  |  |
| Extinguisher in readily accessible, known locations |  |  |  |
| Extinguishers tagged in last 3 months by authorised tester |  |  |  |
| Extinguishers in good order and undamaged |  |  |  |
| Personnel trained in use of extinguisher types |  |  |  |
| Availability of Fire Blanket for cooking areas |  |  |  |
| Fire Emergency Checklist |  |  |  |
| Personnel trained in and understands his/her emergency duties |  |  |  |
| Emergency Plan current and reviewed |  |  |  |
| All exits clearly marked |  |  |  |
| Are any fixed systems on site usable (eg Fire Hoses etc) |  |  |  |
| If the area/arena is fenced are gate keys freely available to Emergency services/event organisers |  |  |  |

Comment:

Inspected by:  		Signed:

Date……………………Observer:  	……………….…………Organisation: