### Site Holder Safety Checklist

##### TO BE COMPLETED DURING SET UP TIME AT THE EVENT

Event: …………………………………………………………..Date: …../…../…….

Vendor Name: ………………………………………………………………………..

Location: ………………………………………………………………………………

| ITEM | OK | NOT OK | N/A |
| --- | --- | --- | --- |
| Please tick where appropriate |  |  |  |
| Power |  |  |  |
| All leads tagged |  |  |  |
| RCD’s in good repair and operating |  |  |  |
| All leads off ground and fixed securely |  |  |  |
| Gas |  |  |  |
| Gas cylinders in good condition and less than 10 years old |  |  |  |
| In use cylinders are outside the unit or structure |  |  |  |
| Spare cylinders, full or empty, are stored externally |  |  |  |
| Cylinders are not blocking exits |  |  |  |
| Cylinders are secure |  |  |  |
| Cylinders are on a level, non-combustible surface |  |  |  |
| Cylinders are in a well ventilated location |  |  |  |
| Cylinder safety outlet faces away from structure |  |  |  |
| Cylinders are clear of ignition sources |  |  |  |
| Fuel and Oil supplies stored away from public |  |  |  |
| Gas Appliances |  |  |  |
| Appliances are away from the public |  |  |  |
| Supply pipes/hoses in good condition (visual check) |  |  |  |
| Combustible materials clear of appliances |  |  |  |
| External Equipment |  |  |  |
| All signage in good repair and appropriate |  |  |  |
| Tables, chairs and umbrellas in good repair (visual check) |  |  |  |
| Umbrellas secured with stakes and pins |  |  |  |
| Signage secured and not blocking traffic |  |  |  |
| Hoses in traffic areas covered with safety mats |  |  |  |
| Approach and exit areas free of obstructions |  |  |  |
| Screens in good repair and secured safely |  |  |  |
| Trailer draw bar and tow ball secure and not causing an obstruction |  |  |  |
| Work Area |  |  |  |
| Floors are smooth, free of spillage and clean |  |  |  |
| Storage and preparation areas clean and free of obstructions |  |  |  |
| Waste and areas clean and free of obstructions |  |  |  |
| Health & Safety |  |  |  |
| Staff aware of procedures and requirements |  |  |  |
| Emergency plan on display |  |  |  |
| First Aid kit on hand |  |  |  |
| Fire Extinguisher and Fire Blanket current and in good condition |  |  |  |
| Exits clearly defined |  |  |  |

Inspected by:  		Signed:

Date: ………………………………………………….